## Slide 1
1Jean-Francois Genat on behalf of the LAPPD collaboration (http://psec.uchicago.edu/)
1University of Chicago, 1CNRS/IN2P3 France
Transmission line readout with anodes
as an array of micro-strip electrodes
16’’ x 24’’ Super-module (2 rows Tiles)
Large Area Micro-Channel Plate structure
Test setup for a 8’’ x 8’’ MCP
Test setup and first image for the 8’’x8’’MCP
Actual transmission-line anodes
and B33 glass vessel
8’’ x 8’’ MCP signals at the ends of a plate
PSEC 4 Readout IC (MOSIS IBM)
See H. Grabas and E. Oberla NP2-S75
Sampling/Timing
generation
Full MCP readout system including Analog, Digital, and Central cards
Analog and Digital test cards
PSEC4 readout IC photo
See H. Grabas and E. Oberla, NP2 S75
Readout ICs PSEC4, See NP2 S75
Development of Large Area Micro-Channel Plates Photo-Detectors (LAPPD) and Integrated Readout
Measured 8’’ x 8’’ MCP signals at the
two ends of a transmission line anode
Timing resolution model using waveform sampling and measured Signal to Noise ratio
Timing resolution vs Analog Bandwidth
and Sampling rate