## Slide 1
N10.00008: Low-dose high-resolution TOF-PET using ionization-activated multi-state low-Z detector media
Presenter: João F. Shida
Authors and collaborators: J.F.Shida, E.Spieglan, B.W.Adams, E.Angelico, K.Domurat-Sousa, A.Elagin, H.J.Frisch, P.La Riviere, A.H.Squires, V. Rawal
16th of March, 2022. APS March Meeting

## Slide 2
03/16/2022
<number>
Positron Emission Tomography (PET)
PET
CT PET
Structure
Activity

## Slide 3
03/16/2022
<number>
Positron Emission Tomography (PET)
PET
Positron Emission…
PET
…Tomography

## Slide 4
03/16/2022
<number>
Positron Emission Tomography (PET)
PET: Resolution
Major factor in resolution: Width of crystal/photodetector: Non-physical limitation

## Slide 5
03/16/2022
<number>
Moving from High-Z to Low-Z
High-Z (>60)
Low-Z
(e.g. Carbon = 6)
At low-Z (organic liquid), Compton scattering dominates
Positron Emission Tomography (PET)
Z | σ Photoelectric | σ Compton Scattering | σ Coherent Scattering
60 | 2.9E-2 | 7.1E-2 | 6.3E-3
6 | 6.5E-6 | 8.6E-2 | 1.5E-4
Data from XCOM database, cross-sections in cm/g^2

## Slide 6
03/16/2022
<number>
Low-Z PET
Positron Emission Tomography (PET)

## Slide 7
03/16/2022
<number>
Low-Z PET: Compton Kinematic Chain
γ
Positron Emission Tomography (PET)
If we could see the electrons, we can reconstruct the chain
GEANT4 Simulation of 511 keV Gamma in KAMLAND-ZEN scintillator (Z = 6). Simulation by Dr. Andrey Elagin

## Slide 8
03/16/2022
<number>
Low-Z PET
Example Application: Positron Emission Tomography
Resolution no longer tied to module size, but by reconstruction quality

## Slide 9
Low-Z PET: Fluorescence “bubble chamber”
Positron Emission Tomography (PET)
Problem reduces to taking pictures of electrons

## Slide 10
03/16/2022
<number>
Switching Dyes
Cartoon taken from “Using Switchable Fluorescent Molecules to Image Tracks and Measure Energy in Large Liquid Double Beta Decay Detectors”, Presented at CPAD 2019, Eric Spieglan
Searching for a metastable media

## Slide 11
03/16/2022
<number>
Switching Dyes
Does not absorb in visible
Absorbs in the green
365 nm
UV Light
Vis.
Searching for a metastable media

## Slide 12
Example implementation
Positron Emission Tomography (PET)

## Slide 13
Positron Emission Tomography (PET)
Current Directions
1. Photochemical characterization of switching systems for use in Low-Z PET
Collaboration with Prof. Allison Squires at The University of Chicago Pritzker School of Molecular Engineering and Prof. Rawal at the Chemistry Dept.
2. Simulation of a forward model for a Low-Z PET scanner and reconstruction methods
Collaboration with Prof. Patrick La Riviere at The University of Chicago Department of Radiology
Authors and collaborators:
E.Spieglan, B.W.Adams, E.Angelico, K.Domurat-Sousa, A.Elagin, H.J.Frisch, P.La Riviere, A.H.Squires, V. Rawal

## Slide 14
03/16/2022
<number>
Backup Slides

## Slide 15
03/16/2022
<number>
Charged particle as the switch
Energy transfers from electron to Switching Dye

## Slide 16
03/16/2022
<number>
Context: Photodetector development and Picosecond timing in HEP experiments
LAPPDs
Photo credit: Giulio Stancari, Fermilab
Evan Angelico`s PhD thesis

## Slide 17
03/16/2022
<number>
Context: Photodetector development and Picosecond timing in HEP experiments
Neutrino-less BB-Decay
arXiv:1307.5813

## Slide 18
Low-Z PET: Scattered Electron path
Positron Emission Tomography (PET)
GEANT4 simulation of a 250 keV electron by Andrey Elagin

## Slide 19
Using the new information: LOR
Uncertainty along the axis: tens of centimeters
Uncertainty transverse to axis: Tens of microns
3D Likelihood Gaussian
“Needle” Shaped

## Slide 20
Using the new information: LOR

## Slide 21
Simulation
Backprojection
Using the new information: Backprojection
1000x reduced dose simulation
With the help of Prof. Patrick La Riviere

## Slide 22
How to pronounce João
Zhu-uhw-oh
gioh-uhw-oh